| **Hazard/****Activity** | **Persons at Risk** | **How Harmed** | **Control measures** | **✓X** | **Residual risk rating** | **Comments Actions** |
| --- | --- | --- | --- | --- | --- | --- |
| Bed covers and fabrics | Residents, staff, visitors | Slips, trips falls, fire | * Bedcovers and throws to be a suitable size so as not to cause tripping hazards.
* Bedcovers to be flame retardant material.
* Other fabrics in the bedroom to be flame retardant, i.e. curtains
* If fabrics washed frequently, treated again with flame retardant spray.
* *Other:*
 |  | Low |  |
| Bed guards | Residents | Entrapment, suffocation | * Proper individual risk assessment to be made by qualified member of staff before purchase and installation of a bed guard.
* All relevant agencies to be consulted as part of the individual risk assessment, GP, carer, District Nurse, family etc.
* All alternative methods of preventing falls from bed to be considered before bed guards selected.
* Bed guard to be totally compatible with the bed.
* Satisfied that bed guard will not cause additional, or greater risks from:
	+ Entrapment,
	+ Suffocation from padding
* Staff and resident made aware of entrapment and suffocation risks.
* Use of bed guards referred to in Care Plans.
* Regular inspections made of bed guard and record kept.
* Manufacturers’ instructions followed in the fitting, inspection, removal and use of bed guards.
* *Other:*
 |  | Med |  |